Wonderland Acres Domestic Water Improvement District

Board Meeting

December 11, 2019

- The meeting was called to order at 5:30 p.m. with board members Larry Ratcliff, Kelly Wood and Dale Lindstrom present.  Also present were accountant, Stephanie Irwin and water operator Barry Harville.

- Call to the public – none

- The minutes of the meeting held September 11, 2019 were read and approved.

- The financial report was approved as presented.

- The water operator reported that the system is running smoothly.  He reported on updates from the September meeting including:

A:  The 4” loop down Woodland to Apache Lane near the Unity Church needs to be replaced.  This project has been delayed due to weather and other conditions but will be done as soon as possible.

B:  There is an isolation valve on Navajo Lane near the Hutzler residence that needs to be replaced.  This project has been delayed due to weather and other conditions but will be done as soon as possible.

C:  The #3 well has an electrical problem on the pump.  Barry will obtain an estimate to correct this issue and proceed with the repair.

D:  Due to the ADEQ concerns in downtown Lakeside over the TCE found in some wells Barry recommended that we test the #3 well for extra security.  The tests came back good.

- There was limited discussion regarding establishment of commercial water rates as well as residential rates.  The sanitary district has a list of connections that are considered to be commercial which could be followed by the water district.  Rates of surrounding water systems and communities were provided to the board.  Some discussion was had regarding increasing the minimum but including some water within the minimum.  Further discussion will be had at the next meeting.

- The next board meeting will be March 11, 2019 at 5:30 pm

- There were no items of new business.

- There being no additional business the meeting was adjourned at 6.10 p.m. and the board followed the meeting with dinner at the Chalet.

Respectfully submitted,

Stephanie G. Irwin CPA